MDI-T

A Proposal to Include MDI on Triana

Overview

One of the three U.S.-provided instruments on the Solar and Heliospheric Observatory (SOHO) is the Michelson Doppler Imager (MDI) which is the key element of the Solar Oscillations Investigation (SOI), a collaboration between Stanford University and the Lockheed Martin Solar and Astrophysics Laboratory. The Michelson Doppler Imager for Triana (MDI-T) will address the same science goals as MDI but will benefit from experience gained in the MDI program. In order to provide MDI-T on a rapid schedule and at low cost, MDI-T is a nearly identical copy of MDI. MDI is described in detail by Scherrer et al. (1995).

MDI-T will be one of a set of coordinated solar instruments on Triana. The set, called T-SIP, or Triana Solar Instrument Package, is a subset of the instruments that flew on SOHO. The T-SIP instruments provide the core of the SOHO science and will be operated in cooperative observing programs to best leverage the joint capabilities. The T-SIP instruments will measure important inputs to the solar-terrestrial system.

The primary science goal of MDI-T is to determine the properties of the solar interior by exploiting a number of techniques of helioseismology. Helioseismology uses the relationship between acoustic wave propagation speed and the thermodynamic of the solar interior to determine the solar internal structure and dynamics. Acoustic waves with periods near five minutes propagating in all directions permeate the solar interior. These waves are refracted upwards toward the solar surface by the downward temperature gradient and they are reflected downward at the surface by the sharp gradient in density. The acoustic waves are observable as small periodic Doppler shifts in photospheric absorption lines. The observations of trapped mode frequencies and wave advection are the input data for comparison with physical models of the solar interior and for numerical inversions that provide information about the thermal structure and motions in the interior.

In addition to observing the oscillations with high spatial resolution over the entire visible hemisphere, MDI and MDI-T observe photospheric magnetic fields. MDI measures only the line-of-sight component of the field. By the simple addition of two additional half-waveplates in a 6-position polarization analyzer wheel (as in TRACE), MDT-T provides the capability of observing the horizontal component of the field as well. This is simple to implement, and a very useful additional tool to help characterize the eruption and interaction of magnetic fields in active regions.

MDI and MDI-T both have two imaging magnifications, selected by the exposure control shutter. In MDI, the location on the solar disk of the higher-magnification region, about 1/9 of the solar disk area, was fixed prior to launch. MDI observations demonstrated the great utility of the higher resolution observations for many science objectives. MDI-T will provide a simple mechanism to reposition the high-resolution field in the east-west direction on the Sun. This will allow 6-8 day duration observations of convection flows beneath and around sunspots, as compared to the 2-day limit with MDI.

Other minor differences between MDI and MDI-T are primarily to meet the differences in spacecraft interface requirements.

The SOI-MDI program required the dedicated efforts of an international science team as well as the Stanford and Lockheed instrument teams. The task of deducing stellar interior properties from observations of surface motions is not trivial and will continue to require significant effort. To enhance the science return from SOI-MDI, all MDI data have been provided to all members of the scientific community via easy-to-use Web data request forms. The MDI-T program will continue that policy. Additionally, the MDI-T team is dedicated to bringing the excitement of touring the interior of our Sun to the public, and to help incorporate solar and space science in general into the educational system.

MDI obtained an exceedingly useful series of observations that have provided new insights into the solar interior and into the interactions of magnetic fields and convective processes. MDI-T will continue those kinds of observations with some minor but important improvements; it will be well suited to observe the solar interior during the activity maximum in 2001 and beyond.

Historical Perspective

In the 1960's it was discovered that the entire surface of the Sun is constantly in motion and that local areas of the photosphere oscillate with a period of about five minutes. Initially the motions were thought to be local responses to convective plumes below the surface and the five-minute period just the natural buoyancy frequency of the atmosphere. In the early 1970s theoreticians suggested that the oscillations were the atmosphere's response to global modes in the interior. Within a few years these predictions were verified and the discipline of helioseismology was born. By precisely measuring the frequencies of the modes it is possible to determine temperature, density, equation of state, elemental abundances, convective mixing, rotation, and mass flows as a function of radius, longitude, and latitude, throughout much of the solar interior. It is thus possible to verify models of stellar interiors and stellar evolution by direct measurement. A secure understanding of the solar interior is essential to establishing whether the observed solar neutrino flux deficit is due to an incomplete understanding of conditions in the solar interior or of the fundamental physics of elementary particles. The measurements of flow patterns and rotation in the solar convection zone are key to the development of models of stellar convection and the generation of magnetic fields by dynamo action.

MDI on SOHO

The Michelson Doppler Imager (MDI) on SOHO (Scherrer et al., 1995) was designed to exploit the opportunities created by helioseismology which could not be accomplished by ground-based observations. MDI made measurements of the photospheric velocity and intensity each minute. These and the magnetic field were computed on board from filtergrams observed at 5 wavelengths near the 6768 _ Ni I spectral line. A pair of tunable Michelson interferometers following fixed Lyot and broadband filters made the wavelength selection, resulting in a 100 m_ passband. The instrument shutter selected between 4" and 1.2" resolution on a 1024x1024 CCD detector.

Data for two complete, compressed images could be downlinked each minute during high telemetry bandwidth intervals; alternatively sub-rasters of nearly any combination of full-disk and high-resolution observations in velocity, intensity, line depth, or magnetic field could be transmitted.

The unique and important aspect of the MDI experiment is the capture of long, uninterrupted sequences of images of uniform quality, high precision, and good spatial resolution. These characteristics, coupled with flexible observing modes and the provision of various complementary synoptic observations, make it a very powerful tool for exploring the Sun's interior and the sources of solar variability.

MDI was successful during the SOHO prime mission phase. Continued access to MDI observations was one of the key goals of the SOHO Solar Maximum Extended Mission which was interrupted on 24 June 1998. During the initial SOHO mission MDI contributed to several new discoveries:

New constraints on interior rotation and sound-speed profiles (Schou et al., 1998; Birch & Kosovichev, 1998; Dziembowski et al, 1998; Kosovichev et al., 1997, 1998; Toutain et al. 1998)

The polar jet stream (Schou et al., 1998)

Meridional flow with depth (Giles et al., 1997; Schou & Bogart, 1998; González Hernández, 1998)

Zonal flows with depth (Kosovichev and Schou, 1997; Schou et al., 1998)

Characterization of supergranulation (Kosovichev & Duvall, 1997)

Detection of seismic response to flares (Kosovichev & Zharkova, 1998)

Precise measurement of the seismic radius (Schou et al., 1997)

Relativistic corrections to the equation of state (Elliott & Kosovichev, 1998)

First convective flow maps below surface (Duvall et al., 1997)

Thermal structure beneath sunspots (Kosovichev, Duvall & Scherrer, 1997)

Detection of giant cells (Beck et al.,1998); magnetic carpet (Hagenaar et al., 1998)

Association of magnetic field emergence and coronal brightenings (Tarbell et al., 1997)

Strong clumping of magnetic flux in coronal holes (DeForest et al., 1998).

MDI-T, MDI on Triana

The purpose of MDI-T is to complete the studies begun during the SOHO mission and to extend those studies through solar maximum into the declining phase of the present cycle. In particular, MDI-T will study:

Global Properties of the Solar Interior

Radial Stratification of the Solar Interior-Determine the spherically symmetric components of the mean radial structure of the Sun in pressure, density, and sound speed. The prime goal is to focus on the structure of the energy-generating core, the region of convective overshoot, and the sub-surface turbulent boundary layer. These are regions where significant deviations from the standard solar model have been detected from the MDI data. These studies are important for inferring the Sun's chemical composition and understanding the problems of the deficit of solar neutrinos and the Li and Be abundances. These studies also allow investigation of the thermodynamical properties of matter under the extreme conditions found in the Sun and of the mechanisms of energy transport in stellar interiors.

Internal Rotation-Determine the rotation rate as a function of radius and latitude. This knowledge is essential for understanding solar and stellar evolution. The interaction between rotation and convection is critical to understanding solar activity, the generation of magnetic fields, and the nature of the solar dynamo. The properties of the solar tachocline (the transition region between the radiative and convective zones) and its variations during solar maximum will be determined. Longer time series will allow us to accurately measure the rotation rate of the solar core.

Figure MDI_1 is the spherically symmetric solar interior rotation determined from the MDI medium-l data. The figure shows a shear layer in the region that separates the differentially rotating convection zone and the more rigidly rotating core. The sharp rotation gradient just beneath the surface and the high latitude jet are also shown. MDI-T will continue this series of observations and allow determination of variations between solar minimum and maximum activity levels.

Solar Background -Determine the global characteristics of small scale solar convective phenomena, and identify the sources and mechanism of excitation of solar oscillations. The determination of properties of the correlated background discovered by MDI (Nigam et al., 1998) is important for understanding the physics of solar oscillations.

Detection of g Modes-Continue the search for g modes begun with MDI, GOLF, and VIRGO on SOHO. There were hints of g-mode oscillations detected with GOLF and possibly with MDI and VIRGO during the analysis of the 2-year dataset available from SOHO. MDI-T data will help to either verify these modes or to continue the search by adding a longer baseline and reducing further the noise in the low-frequency band.

Local Properties of the Solar Interior

Interior and Surface Flows-Meridional flow, now detected 70,000 km beneath the surface, is likely an important component of the solar cycle. Measurements will be pushed to greater depths and the indication from surface Doppler measurements that the flow varies over the solar cycle will be checked. The zonal flows, or torsional oscillations, propagate in latitude over the solar cycle. Their connection to the solar cycle is unclear, but it is important to determine the depth dependence of the flow as well as its time variation. The high-latitude jet discovered with MDI data will be studied further, to look for time or location variations. Searches will be made for other, more difficult to detect, jet streams.

Supergranulation-Smaller scale convective elements and magnetic field elements are advected to supergranulation boundaries. MDI-T will determine the characteristics of this key flow pattern at and beneath the surface. The tracking of the high-resolution field will enable better observations of the supergranules, whose one-day lifetime is uncomfortably close to the time for regions to traverse the fixed field of MDI's high-resolution field.

Large-Scale Surface Flows-Evidence is beginning to mount for large-scale convection cells detectable in the Doppler residuals (Beck et al., 1998) and by tracking of supergranules, as well as in seismically inferred near-surface flows (Schou & Bogart, 1998). These features span up to 50 degrees in longitude or more, and may play a significant role in the organization and distribution of active regions. Analysis of MDI-T data will allow us to continue to explore these surface flow patterns and the associated thermal structures during a different part of the solar cycle.

Active Region Tomography- Some of our greatest uncertainties about solar activity are the nature of the subsurface structure of magnetic fields. Do sunspots have a single monolithic flux tube below the surface, or is the "spaghetti" model valid? Active region tomography using the several variants of acoustic imaging has been used with MDI data for the first views of this region. MDI-T will allow detailed study of the internal thermal and convective structure and evolution of active regions.

Figure MDI_2 shows a frame from one of the three sequences of an erupting active region observed by SOHO/MDI with enough coverage to perform time-distance 3-D tomographic analysis of the sub-surface sound speed and flows. The figure shows the photosphere in white light rendered partly transparent with vertical and horizontal cuts of sound speed inversions. The three sunspots emerged during the observing sequence. The red coloring shows regions of increased wave speed and the blue shows cooler regions just beneath the sunspots. The warmer/faster region extends from 3000 km to about 8000 km beneath the photosphere with a horizontal extent comparable to the entire active region. The observation was made in July 1996.

Flare-Induced Seismic Events-MDI data provided the first observations of an acoustic response to flares. The detection of scattering of the flare-induced seismic waves on sunspots will allow the determination of the sub-surface structure of active regions. Important goals are understanding the mechanism of the seismic response, momentum and energy transport into the Sun's interior, and the relation between the seismic and atmospheric (Moreton) waves. Detection of seismic waves generated by a flare and converging at the flare antipode is an exciting prospect of flare seismology, with promises of application to the prediction of solar activity.

Figure MDI_3 shows the response of the photosphere to the flare of 9 July 1996. The figure shows a map of line-of-sight velocity in the region around the flare. Darker colors are motion into the sun and lighter colors are upwards motion. The flare caused an impulse of 1000 m/s followed by an expanding ring with amplitude of several tens of m/s accelerating outward at from 10 km/s to greater than 110 km/s. The ring shown here is from sound waves that were refracted back to the surface from a depth of about 17000 km.

Magnetic Evolution

Magnetic Fields-Active and quiet magnetic field regions evolve and interact to produce the larger-scale field patterns. MDI's observations at solar minimum clearly showed how emerging flux interacts with existing structures, both locally and globally. Closer to solar maximum, MDI-T will observe with sufficient spatial and temporal resolution to sufficiently characterize the changes that result in solar flares, Coronal Mass Ejections (CMEs) and other transient activity, irradiance variations, development of coronal holes, and ultimately the reversal of the polar fields. Magnetic fields also affect the photospheric characteristics of solar p modes; these effects must be understood to determine what happens below the surface. There is evidence from SOHO/EIT that low frequency (millihertz band) acoustic waves exist in the corona and contribute to coronal heating. Detailed joint studies of the quiet sun with both high resolution imager and MDI-T magnetograph observations are needed to understand the "background" heating mechanisms of the solar corona.

Figure MDI_4 shows a section of an MDI magnetogram (left) with an EIT 195_ image (center) and an overlay of the field on the EIT image (right). This figure shows the strong correspondance between fields and coronal brightenings. These images are extracted from a time series that shows dramatic expansion and brightening of coronal loops as new flux emerges from below the photosphere.

Magnetic Carpet- MDI confirmed that small magnetic bipolar flux element pairs are continually emerging at random locations within supergranules. This provides a mechanism to refresh the dominant polarity, while at the same time changing the photospheric location of flux elements at a speed comparable to the horizontal flow speed, rather than the much slower random walk time. The entire network flux is rearranged in less than a day by this mechanism, and the total flux in the quiet Sun is replaced in two to four days. There are profound implications for coronal heating.

Figure MDI_5 shows magnetic field lines computed from MDI observations overlain on a simultaneous image from SOHO/EIT. Bright spots on the EIT image correspond to locations above merging magnetic fields. Because of the lack of 3-D intensity information, the EIT image has been rendered on the photosphere, beneath the extrapolated magnetic field lines.

Prominences, Filaments, and CMEs-MDI-T magnetograms will allow us to determine the magnetic field configuration at the foot points of prominences. Prominences remain enigmatic features after decades of study. Prominences are complex structures that demonstrate chirality and strongly twisted magnetic fields. While models can explain the forces needed to suspend the core of each prominence, there are still major holes in our understanding of prominences. The secret is likely to be found in the detailed magnetic structure of the legs and "backbone" of the prominence. A major result from SOHO is that CMEs appear frequently to arise from disappearing filaments (aka prominences). Hence understanding prominence evolution and behavior is crucial to predicting CMEs and the interplanetary storms that accompany them.

MDI-T Operations and Data Access

MDI-T Operations will be managed in the same manner as SOHO/MDI. A small staff located at the science planning center will engage in joint planning with other Triana experiments and other space and ground observations. The main MDI-T science planning, health monitoring, and data processing will continue at Stanford University. We expect raw data to be delivered to the Stanford processing center from the ground stations in much the same way that the SOHO Virtual Channel 2 telemetry dedicated to MDI science is currently delivered to the SOHO Experiment Operations Facility.

MDI-T Data Access will be quick and unrestricted. The data will be available in both raw and calibrated form as soon as they are received and processed. For SOHO/MDI, the processing typically lagged receipt of data by several days. The MDI-T pipeline will make data available at level 0 after one day, and at level 1 (calibrated) after one week. ALL MDI-T data will be accessible via the World Wide Web forms as SOHO/MDI data are now. Data will be distributed directly via the Internet and on various hard media depending on the quantity requested. The MDI data analysis and processing center at Stanford presently contains over 30,000 gigabytes that are searchable and exportable in this form, and MDI-T data can be integrated seamlessly into the existing system. MDI-T magnetogram and campaign data will also reside in the GSFC and European SOHO data archives.

Science Analysis Team

The MDI-T science objectives require a significant analysis effort to be accomplished. During the SOHO development phase and two years of operations, significant progress was made in the field of helioseismology. Much remains to be done. We have only now begun to exploit the potential for local-area helioseismology. These techniques will help provide an understanding of how the surface, interior, and convective transport interact with magnetic fields and evolve during the solar cycle. The long time series of oscillation mode frequencies will enable us to determine the global-scale thermal and dynamic variations with the phase of the cycle. Regular high-cadence magnetic field observations will allow detailed tracking of magnetic flux from eruption to the large-scale remnant field patterns for the first time.

To achieve these goals we have two components to the MDI-T science team. The instrument science team consists of scientists at Stanford University and Lockheed Martin Solar and Astrophysics Laboratory. This team has responsibility for MDI-T operations, data processing, calibration, access, and many of the prime science goals. The Stanford team includes MDI PI Prof. Philip H. Scherrer and Co-Investigators Richard S. Bogart, Rock I. Bush, Thomas L. Duvall Jr. (of GSFC), J. Todd Hoeksema, Alexander Kosovichev, and Jesper Schou; the Lockheed-Martin team includes Co-Is Alan Title, Theodore Tarbell, and Carolus J. Schrijver.

The extended science team is responsible for important aspects of the prime science goals and many associated science goals. The extended team includes Co-Investigators Taeil Bai and John G. Beck of Stanford, Jørgen Christensen-Dalsgaard (Aarhus University, Denmark), Douglas Gough (Institute of Astronomy, University of Cambridge, UK), David Hathaway (NASA Marshall Space Flight Center), Sylvain Korzennik (Harvard-Smithsonian Center for Astrophysics), Jeffrey R. Kuhn (University of Hawaii), John W. Leibacher (National Solar Observatory), Robert W. Noyes (Harvard-Smithsonian Center for Astrophysics), Edward J. Rhodes, Jr. (University of Southern California), Michael J. Thompson (University of London, UK), Juri Toomre (University of Colorado), Roger K. Ulrich (University of California, Los Angeles), Arthur B.C. Walker II (Stanford), and Xuepu Zhao (Stanford). The extended science team Co-Investigators were SOHO/MDI Co-Is and A-Is during the prime SOHO mission who were to obtain support via the SOHO Guest Investigator program during the extended mission phase. The efforts of these investigators is critical to completion of the MDI_T science goals. Their efforts could be supported via the prime Triana program or via competitive selection via the NASA SEC Guest Investigator program if that program will contain support for Triana GIs.

MDI-T Student Involvement and Education/Outreach

The involvement of students of all ages is a key part of Triana in general and of MDI-T in particular. The SOHO/MDI project maintained an active education and public outreach program. The MDI on Triana project will expand on that project to include student involvement in mission operations planning.

Student Involvement

During the development phase students will be invited to watch the progress of the project via a www window that translates our normal progress reports into 'plain English' and they will be encouraged to comment on problems that arise via e-mail. Students and teachers will be involved in defining the kinds of projects that will be supported after launch. In particular, we will encourage students to use simulated data and the 'java' tools the whole Triana team is building to develop useful www pages that can be shared and used to complete projects after launch. Cable-1 TV provides another opportunity to reach students; we can produce a regular "Live from Space" segment that focuses on timely events, e.g. development of solar activity, the smoke track of a large fire, or a weather system (space or terrestrial). The segment would also include an opportunity to respond to student questions and encourage use of other Triana www resources. The rapid pace of the Triana program presents obvious challenges, but is well suited to the typical span of student interest and involvement. At the graduate level, students from each of the Co-I institutions will participate in the design, construction, and/or testing of the instrument and/or in the analysis of data. At undergraduate and even high school levels we have found it mutually beneficial to provide summer employment.

Education/Outreach - MDI-T's Education/Public Outreach program will build on the efforts begun for MDI. Our award winning site, http://solar-center.stanford.edu, provides a wealth of on-line resources for students and teachers as well as for others interested in solar astronomy. We will develop new hands-on, real-time activities using data from MDI-T and other Triana instruments. Teacher workshops will be conducted to help classes make best use of the opportunity. We will design interactive classroom activities for upper grades that may include selection of targets for MDI-T observing. Posters have proven a popular and effective way to publicize our results broadly. We will continue to publish posters and generate material for news media during the Triana development and operations phases. We will work with science centers (e.g., Chabot in Oakland and the Exploratorium in San Francisco) to reach the maximum number of people. We will collaborate with the SEC Forum to make the greatest practical public impact.

Instrument Development

Summary

This section describes the general characteristics and requirements of the MDI-T instrument which consists of two main units - an Optics Package (OP) and an Electronics Package (EP) - and cabling to connect them. Extensive experience gained from the design and operation of the SOHO/MDI instrument will be used in the construction of MDI-T.

MDI-T will use the SOHO/MDI structural model optics enclosure with new mounts fabricated if needed. MDI-T will use the SOHO/MDI flight spare Lyot filter. A spare Lyot will be fabricated for risk reduction. A new Michelson pair will be fabricated with the existing SOHO/MDI spares becoming MDI-T spares. A new electronics enclosure and backplane will be designed, fabricated, and tested. The current SOHO/MDI flight spare filter oven will be evaluated and a replacement fabricated if required. A new beam distribution box will be fabricated as the current beam box is not flight quality. The new box will be designed to accommodate a single axis scanning mirror. A CCD camera of the existing MDI design will be fabricated using the best available chip and the existing enclosure.

MDI-T electronics will be fabricated primarily using electrical designs of SOHO/MDI and the TRACE electrical interfaces designs. Some of the MDI-T Printed Circuit Boards (PCBs) will be slightly different than the SOHO/MDI configuration. In particular, the MDI-T electronics package will be a hybrid of the SOHO/MDI and TRACE electronics packages. The TRACE Control Computer is a modification of the SOHO/MDI DEP (main computer) to support SMEX architecture, specifically the inclusion of a 1553B bus interface for receiving commands and sending housekeeping data and a high speed serial RS422 interface to send image data packets to the telemetry downlink system. The existing TRACE EP needs to be lengthened in order to accommodate the ten Image Processor memory boards. Most of the redundant electronics in the SOHO/MDI EP will be left out of the MDI-T EP in order to reduce mass and complexity.

There are existing Engineering Test Units (ETU) for both SOHO/MDI and TRACE, though neither is completely populated. Some PCBs in these systems are flight spares and will be used directly. Most other boards are flight quality boards and will be populated with flight quality parts. New boards will be fabricated as need. The cost estimate allows for four boards to require new layout and two others to require completely new design. The flight software and firmware will be a combination of the SOHO/MDI and TRACE systems. The electrical Ground Support Software used for TRACE will require only minor modification.

MDI-T Accommodation Requirements

| Aspect | Requirement / value |  | Comment |  |  |
| --- | --- | --- | --- | --- | --- |
| Dimensions (meters) | OP: EP: | 0.87 x 0.40 x 0.25 0.55 x 0.23 x 0.28 | OP: Existing SOHO/MDI OP dimensions. EP: Existing TRACE EP dimensions increased in length by 25% to maintain the MDI IP memory. |  |  |
| Mass | OP: EP: Cables: Total: | 26.9 kg 20.0 kg 4.2 kg 51.1 kg | Requirements are based on the mass of the SOHO/MDI OP and the TRACE EP increased by 25%. |  |  |
| Power | OP: EP: Total: | 19 W 38 W 57 W | Based on knowledge of SOHO/MDI power consumption. Keep alive power is approximately the same as nominal power due to substitution heater requirements. |
| Telemetry | 250 kbit/sec continuous (= 240 kbit/sec + 10kbit/sec) |  | The helioseismology science requires continuous observing for periods of months to years. Total data loss including planned interruptions of the science must be less than 5%. |  |  |
| Pointing stability (pitch/yaw) | Jitter: Short term: Mid term: | 0.2"/sec 4"/min 10"/2 month | The solar image is stabilized to <0.1 arc sec by an active system with a bandwidth of ~100 Hz and a range of &plusmn;10 arcsec. Figures are for peak excursion from nominal on the timescale given. |  |  |
| Pointing stability (roll) | Short term: Mid term: | 32"/min 3'/3 days | There is no image stabilization on the roll axis; this requirement is set by the need to keep apparent motion at the solar limb to less than 0.1 pixel per minute. Figures are for peak excursion from nominal on the timescale given. |  |  |
| Temperature stability at attach points | 1oC/day | The MDI optics are thermally isolated inside an actively regulated oven; but temperature drift should be designed in all cases to be as low as possible. |
| Clear field of view | 22o half cone angle | The scientific field of view is a 0.75o half cone angle |

Development Plans

Structure and Mechanical

The existing SOHO/MDI structural model optics package is the baseline for MDI-T. The mounting legs may have to be modified for Tirana. The current beam distribution box is not flight worthy and must be modified to accommodate the high resolution scanning mirror. The quality of the existing filter oven will be evaluated once the contract starts. The schedule and cost assume replacement is required. Mechanical accommodations for a six position filter wheel and high resolution field scanner must be designed. A new electronics enclosure must be designed, built, and shaken within four months of project start. Optical and mechanism mounts will be designed and fabricated as needed. A SXI heritage six position filter wheel and a scanning mechanism must be designed and constructed immediately to allow time for qualification tests.

Optics

Many of the spare optics elements from SOHO/MDI are available and will be used. In particular, the existing telescope assembly from the ETU will be qualified for flight and installed in the MDI-T optics package. There is a flight quality Lyot filter, but to reduce risk an additional crystal set will be ordered to fabricate a spare in the event the existing Lyot is found to be inadequate. The existing spare Michelson interferometers have marginal performance. These will be designated the flight spares and a new set of Michelson interferometers will be ordered immediately.

Thermal

The SOHO/MDI thermal analysis will be adapted for MDI-T to account for spacecraft differences. Early in the program, thermal analysis of SOHO/MDI front window performance and Michelson interferometer temperature gradients will be used to determine if front window and filter oven design changes are required. There will be no backup oven heater controller.

Mechanisms

Michelson Tuning Motors: Refurbish and test the two motors used for life testing and are currently in the SOHO/MDI ETU. The bearings will be replaced, and the encoder boards checked to verify they are acceptable for vacuum use.

Filterwheels: Refurbish and test three filterwheel motors from the SOHO/MDI ETU in a fashion similar to the tuning motors. In addition there are two filterwheels in the TRACE ETU that could be used if there is problem with the SOHO/MDI ETU units.

Shutter: Refurbish and test the motor in the SOHO/MDI ETU. The shutter blade and bearings will be replaced.

Front Door: Refurbish and test two motors using parts from the SOHO/MDI structural model (SM). There are motors with assembled gear heads that were removed from the SM before vibration testing. The condition of the white paint on the front door must be tested, and additional new parts will be required.

Alignment Mechanism: The plan is to fabricate two new motors using the existing design. Some new parts will need to be ordered and other manufactured. This is a straightforward task that duplicates previous SOHO/MDI efforts.

New Mechanisms: Two new mechanisms and associated electronics are planned. These are a six position Polarization Analyzer Wheel (PAW) and a high resolution field scanner (HRS). The PAW design is electrically identical the SXI wheel. The HRS is a modification of the TRACE focus mechanism. We have allocated cost and schedule to these items consistent with previous experience in mechanism development. A spare HRS is required for qualification test. Qualification testing of the PAW may leverage SXI experience. Early in the program there will be an integrated design and development risk assessment on both these items and they may be removed for cost and schedule relief.

Electronics

The power system will be a single string system similar to that used on TRACE. There is no redundancy and there is minimal commanding of individual converters.

A new camera will be fabricated using the existing SOHO/MDI design. A few minor design changes may be required because some parts are no longer available. The cost is based on an entirely new camera using an existing, characterized chip, and the existing enclosure.

The table below shows the electronics board design heritage for MDI-T. It does not show controllers for the six position PAW or the HRS as these are new for MDI-T. The cost and schedule have been developed based on the following: all boards must be fabricated, populated with components and tested; up to two boards may require new layout as well as fabrication; up to four boards may require some new design work.

| SOHO/MDI |  | TRACE |  | MDI-T |
| --- | --- | --- | --- | --- |
| Board | Part Number | Board | Part Number |  |
| DEP CPU | MDI081059-101 | CC CPU CCD | TRA081059-101 | Trace |
| DEP Memory | MDI081062-101 | CC Memory | TRA081062-101 | Trace/MDI |
| DEP S/C I/F1 | MDI081068-101 | CC S/C I/F | TRA081068-101 | Trace |
| Parallel I/F | MDI081071-101 | CC AE IF | TRA081071-101 | Trace/MDI |
| PZT Drive | MDI081074-101 | PZT Drive | TRA081074-101 | Trace/MDI |
| Limb Tracker | MDI081078-101 | Limb Tracker | TRA081078-101 | Trace/MDI |
| Analog I/F | MDI081084-101 | AE Analog IF | TRA081084-101 | Trace/MDI |
| MTM 1 & 2 | MDI081093-101 | Prism 1 & 2 | TRA081093-101 | MDI |
| Shutter/PAW | MDI081096-101 | Shutter & Quad | TRA081096-101 | MDI |
| CAL 1 & 2 | MDI081099-101 | Fltr Whl 1 & 2 | TRA081099-101 | MDI |
| Door & Legs | MDI081102-101 | Focus Mech | TRA081102-101 | MDI |
| IP APU | MDI081043-101 | DHC APU | TRA081043-101 | Trace/MDI |
| IP DEP I/F | MDI081046-101 | DHC CC I/F | TRA081046-101 | Trace/MDI |
| IP CCD I/F | MDI081049-101 | DHC CCD/Tlm | TRA081049-101 | Trace |
| Local Mem (3) | MDI081039-101 | Local Mem (3) | TRA081039-101 | Trace/MDI |
| Main Mem (10) | MDI081036-101 | Main Mem (4) | TRA081036-105 | Trace/MDI (10) |

Software

The software will be based on the SOHO/MDI and TRACE systems that are quite similar. The command and telemetry databases will be modified from the SOHO format to the SMEX format. The firmware instructions will be modified to output packetized data for the Medium-l data stream to the RS422 and to generate SOHO/MDI style compression in firmware rather than hardware. The TRACE interface simulator may require some modification. That software is not particularly stable and would have been modified had TRACE integration taken longer than it did. The workstation EGSE is usable with only minor changes.

Risk Assessment

The MDI-T schedule is extremely ambitious. The development process is not without risk and it would, therefore, be inappropriate to not discuss some of those risks.

Many of the existing designs contain parts that are no longer made and for which there is no direct equivalent replacement part. MDI-T electronics development is based on an extremely high degree of design reuse. If too much redesign is required to accommodate replacement parts, the schedule will suffer. We are developing a list of parts; including what is currently in house, what parts can be ordered and what parts are in scarce supply.

There are no spare DMA ASICs. These cannot be replaced on the time scale of the Triana development. Several are evaluation rather than qualified parts, but must be used anyhow. If there are problems with more than a few of these ASICs, the schedule will be in jeopardy.

To our knowledge, there is only one flight quality Harris 80C86 processor in existence for use as the MDI-T Control Computer CPU. If something happens to that chip, the project will be in jeopardy.

The SOHO/MDI spare Michelson interferometers and Lyot filter are planned for the MDI-T program. The project plan calls for development of spares, however, there may not be sufficient time to develop these spares.

Testing

We are not planning on any instrument level acoustic testing since there was none on SOHO/MDI. We plan thermal vacuum testing for instrument optical characterization and workmanship testing only. Instrument sunlight testing will take place during the winter when sunny days are at a premium. There is little opportunity to move those tests forward. We are deferring thermal balance to spacecraft level testing. We have costed and scheduled a full instrument vibration test, but may remove it and test only high risk assemblies.

Software

The software interface simulator requires major attention and may require a rewrite. It was never particularly stable and the key programmer has left the company. We have costed and scheduled a major rework effort at the level of the initial development. The sequencer part of the flight software will require significant rework if the HRS and six position PAW are included in the package. We expect are no major difficulties adapting the code.

Camera and Sensor

There is little risk in the camera and sensor area. The camera is a proven design. There are at least two fully characterized sensors that could be used. The CCD evaluation software is under transition to a PC system. We have added some budget for CCD software that will be used either to accelerate the transition or to maintain the old system.

Personnel

We depend on the availability of several key people who are involved in other projects. This Triana project is time critical, and the expertise of personnel involved the SOHO/MDI and TRACE projects is essential to maintaining the MDI-T schedule.

Facilities

The facilities in building 252 are adequate for thermal vacuum and ambient functional testing. A new clean tent will be purchased as a fixed asset. Vibration and EMI testing will use local subcontracted facilities. We assume that facilities can be scheduled consistent with program plans. g. A new clean tent will be purchased as a fixed asset. Vibration and EMI testing will use local subcontracted facilities. We assume that facilities can be scheduled consistent with program plans.